## Slide 1: A Fast Algorithm for Structured Low-Rank Matrix Completion with Applications to Compressed Sensing MRI
Greg Ongie*, Mathews Jacob
Computational Biomedical Imaging Group (CBIG)
University of Iowa, Iowa City, Iowa.
SIAM Conference on Imaging Science, 2016
Albuquerque, NM
Notes: So the title is “Super-resolution MRI Using Finite Rate of Innovation Curves”, but maybe a better title would be Super-resolution Imaging, since the theory and algorithms have potentially wide applicability.

## Slide 2
Motivation: MRI Reconstruction
Motivation:
  Finite rate of innovation (FRI)
  Pan et al. (2014), “Sampling Curves with FRI”
  Tang et al. (2013), “CS Off the Grid”; Candes (2014).
  Main Problem: Reconstruct image from Fourier domain samples
  Related: Computed Tomography, Florescence Microscopy
“k-space”
Notes: World’s most expensive Fourier transform.

## Slide 3
Compressed Sensing MRI Reconstruction
smoothness/sparsity regularization penalty
recovery posed in discrete image domain
Example: TV-minimization
Rel. Error = 5%
25% k-space

## Slide 4
Drawbacks to TV Minimization
Discretization effects:
  Lose sparsity when discretizing to grid
Unable to exploit structured sparsity:
  Images have smooth, connected edges
Sensitive to k-space sampling pattern [Krahmer & Ward, 2014]

## Slide 5
Off-the-Grid alternative to TV [O. & Jacob, ISBI 2015], [O. & Jacob, SampTA 2015]
Continuous domain piecewise constant image model
Model edge set as zero-set of a 2-D band-limited function
“Finite-rate-of-innovation curve” [Pan et al., IEEE TIP 2014]
image
edge set

## Slide 6
2-D PWC functions satisfy an annihilation relation
spatial domain
Annihilation relation:
for all frequencies
Fourier domain
multiplication
annihilating filter
convolution
Notes: In line with Mumphord-Shah functional used to recover PWC functions

## Slide 7
Matrix representation of annihilation
2-D convolution matrix
built from k-space samples
2(#shifts) x (filter size)
Cartesian
k-space samples
vector of filter coefficients
apply weights
Notes: Thm: rank of this matrix is at most … Upper bound for rank…choose more samples, exact condition.

## Slide 8
Basis of algorithms: Annihilation matrix is low-rank
Prop: If the level-set function is bandlimited to and the assumed filter support then
Spatial domain
Fourier domain
Notes: Put low-rank result on this slide. Matrix is low-rank

## Slide 9
Basis of algorithms: Annihilation matrix is low-rank
Prop: If the level-set function is bandlimited to and the assumed filter support then
Fourier domain
Assumed filter: 33x25
Samples: 65x49
Rank 300
Example: Shepp-Logan
Notes: Put low-rank result on this slide. Matrix is low-rank

## Slide 10
or
Pose recovery from missing k-space data as structured low-rank matrix completion problem
Notes: Put accepted at SampTA 2015 on bottom. Delete first equation.
New k-space penalty. Convex. Extends easily to higher derivatives. Work for any dimension. Pro: apply to other inverse problems. Use as a generic prior as alternative to TV or HDTV. Nuclear norm. The naïve way of implementing is slow, and we have a fast way of implementing it. Some of current theoretical results are in the SampTA paper available on our website.

## Slide 11
or
Lift
Toeplitz
1-D Example:
Missing data
Pose recovery from missing k-space data as structured low-rank matrix completion problem
Notes: Put accepted at SampTA 2015 on bottom. Delete first equation.
New k-space penalty. Convex. Extends easily to higher derivatives. Work for any dimension. Pro: apply to other inverse problems. Use as a generic prior as alternative to TV or HDTV. Nuclear norm. The naïve way of implementing is slow, and we have a fast way of implementing it. Some of current theoretical results are in the SampTA paper available on our website.

## Slide 12
or
Toeplitz
1-D Example:
Pose recovery from missing k-space data as structured low-rank matrix completion problem
Complete matrix
By minimizing rank
Notes: Put accepted at SampTA 2015 on bottom. Delete first equation.
New k-space penalty. Convex. Extends easily to higher derivatives. Work for any dimension. Pro: apply to other inverse problems. Use as a generic prior as alternative to TV or HDTV. Nuclear norm. The naïve way of implementing is slow, and we have a fast way of implementing it. Some of current theoretical results are in the SampTA paper available on our website.

## Slide 13
or
Project
Toeplitz
1-D Example:
Pose recovery from missing k-space data as structured low-rank matrix completion problem
Complete matrix
By minimizing rank
Notes: Put accepted at SampTA 2015 on bottom. Delete first equation.
New k-space penalty. Convex. Extends easily to higher derivatives. Work for any dimension. Pro: apply to other inverse problems. Use as a generic prior as alternative to TV or HDTV. Nuclear norm. The naïve way of implementing is slow, and we have a fast way of implementing it. Some of current theoretical results are in the SampTA paper available on our website.

## Slide 14
Fully sampled TV (SNR=17.8dB) Proposed (SNR=19.0dB)
50% k-space samples
(random uniform) error error
(Retrospective undersampled 4-coil data compressed to single virtual coil)

## Slide 15
Emerging Trend: Fourier domain low-rank priors for MRI reconstruction
Exploit linear relationships in Fourier domain to predict missing k-space samples.
Patch-based, low-rank penalty imposed in k-space.
Closely tied to off-the-grid image models
undersampled k-space
recovered k-space
Structured Low-rank
Matrix
Recovery

## Slide 16
SAKE [Shin et al., MRM 2014]
  Image model: Smooth coil sensitivity maps (parallel imaging)
LORAKS [Haldar, TMI 2014]
  Image model: Support limited & smooth phase
ALOHA [Jin et al., ISBI 2015]
  Image model: Transform sparse/Finite-rate-of-innovation
Off-the-grid models [O. & Jacob, ISBI 2015], [O. & Jacob, SampTA 2015]
undersampled k-space
recovered k-space
Structured Low-rank
Matrix
Recovery
Emerging Trend: Fourier domain low-rank priors for MRI reconstruction

## Slide 17
Main challenge: Computational complexity
Image: 256x256 Filter: 32x32
~106 x 1000
~108 x 105 Cannot Hold in Memory!
256x256x32
32x32x10
2-D
3-D

## Slide 18
Outline
Prior Art
Proposed Algorithm
Applications

## Slide 19
Cadzow methods/Alternating projections [“SAKE,” Shin et al., 2014], [“LORAKS,” Haldar, 2014]
No convex relaxations. Use rank estimate.

## Slide 20
Cadzow methods/Alternating projections [“SAKE,” Shin et al., 2014], [“LORAKS,” Haldar, 2014]
Project onto space of rank r matrices -Compute truncated SVD:
Project onto space of structured matrices
  -Average along “diagonals”
Alternating projection algorithm (Cadzow)

## Slide 21
Drawbacks
Highly non-convex
Need estimate of rank bound r
Complexity grows with r
Naïve approach needs to store large matrix
Cadzow methods/Alternating projections [“SAKE,” Shin et al., 2014], [“LORAKS,” Haldar, 2014]

## Slide 22
Nuclear norm minimization
Singular value thresholding step -compute full SVD of X!
Solve linear least squares problem -analytic solution or CG solve
ADMM = Singular value thresholding (SVT)

## Slide 23
“U,V factorization trick”
Low-rank factors
Nuclear norm minimization

## Slide 24
Nuclear norm minimization with U,V factorization [O.& Jacob, SampTA 2015], [“ALOHA”, Jin et al., ISBI 2015]
Singular value thresholding step -compute full SVD of X! SVD-free  fast matrix inversion steps
Solve linear least squares problem -analytic solution or CG solve
UV factorization approach

## Slide 25
Drawbacks
Big memory footprint—not feasible for 3-D
U,V trick is non-convex
Nuclear norm minimization with U,V factorization [O.& Jacob, SampTA 2015], [“ALOHA”, Jin et al., ISBI 2015]

## Slide 26
None of current approaches exploit structure of matrix liftings (e.g. Hankel/Toeplitz)
Can we exploit this structure to give a more efficient algorithm?

## Slide 27
Outline
Prior Art
Proposed Algorithm
Applications

## Slide 28
IRLS: Iterative Reweighted Least Squares
Proposed for low-rank matrix completion in [Fornasier, Rauhut, & Ward, 2011], [Mohan & Fazel, 2012]
Solves:
Idea:
Proposed Approach: Adapt IRLS algorithm for nuclear norm minimization
Alternate

## Slide 29
Original IRLS: To recover low-rank matrix X, iterate

## Slide 30
Original IRLS: To recover low-rank matrix X, iterate
We adapt to structured case:

## Slide 31
Original IRLS: To recover low-rank matrix X, iterate
We adapt to structured case:
Without modification, this approach is still slow!

## Slide 32
Idea 1: Embed Toeplitz lifting in circulant matrix
Toeplitz
Circulant
*Fast matrix-vector products with by FFTs

## Slide 33
Idea 2: Approximate the matrix lifting
*Fast computation of by FFTs
Pad with extra rows

## Slide 34
Build Gram matrix with two FFTs—no matrix product
Computational cost: One eigen-decomposition of small Gram matrix
eig( )
Explicit form:
svd( )
Simplifications: Weight matrix update

## Slide 35
Convolution with single filter
Simplifications: Least squares subproblem
Fast solution by CG iterations
Sum-of-squares average:

## Slide 36
Proposed GIRAF algorithm
Update annihilating filter -Small eigen-decomposition
Least-squares annihilation
  -Solve with CG
GIRAF algorithm
GIRAF = Generic Iterative Reweighted Annihilating Filter
Adapt IRLS algorithm +simplifications based on structure

## Slide 38
GIRAF complexity similar to iterative reweighted TV minimization
IRLS TV-minimization
GIRAF algorithm
Local update:
Least-squares
problem
Global update:
Least-squares
problem
w/small SVD
Edge weights
Image
Image
Edge weights

## Slide 39
Table: iterations/CPU time to reach convergence tolerance of NMSE < 10-4.
Convergence speed of GIRAF
Scaling with filter size
CS-recovery from 50% random k-space samples
Image size: 256x256 Filter size: 15x15
(C-LORAKS spatial sparsity penalty)
CS-recovery from 50% random k-space samples
Image size: 256x256 (gradient sparsity penalty)

## Slide 40
Outline
Prior Art
Proposed Algorithm
Applications

## Slide 41
GIRAF enables larger filter sizes  improved compressed sensing recovery
+1 dB improvement

## Slide 42
GIRAF enables extensions to multi-dimensional imaging: Dynamic MRI
GIRAF
Fourier sparsity
TV
error images
Fully sampled
[Balachandrasekaran, O., & Jacob, Submitted to ICIP 2016]

## Slide 43
Correction of ghosting artifacts
In DWI using annihilating filter framework and GIRAF
[Mani et al., ISMRM 2016]
GIRAF enables extensions to multi-dimensional imaging: Diffusion Weighted Imaging

## Slide 44
Summary
Emerging trend: Powerful Fourier domain low-rank penalties for MRI reconstruction
  State-of-the-art, but computational challenging
  Current algs. work directly with big “lifted” matrices
New GIRAF algorithm for structured low-rank matrix formulations in MRI
  Solves “lifted” problem in “unlifted” domain
  No need to create and store large matrices
Improves recovery & enables new applications
  Larger filter sizes  improved CS recovery
  Multi-dimensional imaging (DMRI, DWI, MRSI)
Notes: New framework for off-the-grid image recovery.
--Piecewise polynomial
--n-D
--Sampling guarantees
Two step recovery scheme
--Fast algorithm
--Robust mask estimation
--Better performance than standard TV
Novel Fourier Domain structured/low-rank prior. (show final result)
--off-the-grid
--convex
-- include identifying pictures.

## Slide 45
References
Krahmer, F., & Ward, R. (2014) Stable and robust sampling strategies for compressive imaging. Image Processing, IEEE Transactions on, 23(2): 612-622.
Pan, H., Blu, T., & Dragotti, P. L. (2014). Sampling curves with finite rate of innovation. Signal Processing, IEEE Transactions on, 62(2), 458-471.
Shin, P. J., Larson, P. E., Ohliger, M. A., Elad, M., Pauly, J. M., Vigneron, D. B., & Lustig, M. (2014). Calibrationless parallel imaging reconstruction based on structured low‐rank matrix completion. Magnetic resonance in medicine, 72(4), 959-970.
Haldar, J. P. (2014). Low-Rank Modeling of Local-Space Neighborhoods (LORAKS) for Constrained MRI. Medical Imaging, IEEE Transactions on, 33(3), 668-681
Jin, K. H., Lee, D., & Ye, J. C. (2015, April). A novel k-space annihilating filter method for unification between compressed sensing and parallel MRI. In Biomedical Imaging (ISBI), 2015 IEEE 12th International Symposium on (pp. 327-330). IEEE.
Ongie, G., & Jacob, M. (2015). Super-resolution MRI Using Finite Rate of Innovation Curves. Proceedings of ISBI 2015, New York, NY.
Ongie, G. & Jacob, M. (2015). Recovery of Piecewise Smooth Images from Few Fourier Samples. Proceedings of SampTA 2015, Washington D.C.
Ongie, G. & Jacob, M. (2015). Off-the-grid Recovery of Piecewise Constant Images from Few Fourier Samples. Arxiv.org preprint.
Fornasier, M., Rauhut, H., & Ward, R. (2011). Low-rank matrix recovery via iteratively reweighted least squares minimization. SIAM Journal on Optimization, 21(4), 1614-1640.
Mohan, K, and Maryam F. (2012). Iterative reweighted algorithms for matrix rank minimization." The Journal of Machine Learning Research 13.1 3441-3473.
Acknowledgements
Supported by grants: NSF CCF-0844812, NSF CCF-1116067, NIH 1R21HL109710-01A1, ACS RSG-11-267-01-CCE, and ONR-N000141310202.

## Slide 46
Thank you! Questions?
Exploit convolution structure to simplify IRLS algorithm
Do not need to explicitly form large lifted matrix
Solves problem in original domain
GIRAF algorithm for structured low-rank matrix recovery formulations in MRI